AirFlush® Waterless Urinal System

The AirFlush waterless urinal system is designed for robust, odour-free operation without the need for special chemicals or other consumables.

Ideally suited to sites with multiple urinal bowls and very heavy usage.

Features:

- Waterless system

- No consumables (E.G. cartridges, oils) needed

- Integral low watt fan creates negative pressure and a gentle flow of air down the urinal bowls, effectively removing odour

- Single central trap minimises maintenance problem

- Minimal vandalism, flooding and frost problems

- Carefully designed waste pipes prevent scale build up and eliminate leaks

Benefits:

Water saving is not the only reason to specify waterless urinals as they promise a range of benefits including:

- Reduced water and sewage charges (where relevant)

- Reduced pipe blockage in hard water areas

- Avoidance of odorous lime-scale on urinal bowls

- Reduced sewage volumes to soakaways and treatment plants

- Immunity to frost

- Less temptation for vandals

- No flooding of rooms when traps block or are deliberately blocked

- No flush controllers to maintain or fail

More about AirFlush Waterless Urinal System:

As standard

AirFlush Waterless Urinal System

Supplier:			Cubicle Centre

Web:			www.washroomcubicles.co.uk

Tel:			+44 (0)1924 457600

Email:			sales@washroomcubicles.co.uk

Product reference:	AirFlush Waterless Urinal System

Technical details:

System:			IFö ceramic bowl(s) with AF kit

Waste: 			Integral 50 mm ceramic spigot

Branch discharge: 	50 mm solvent weld to fall of 1:18

Kit: 			Fan, fan transformer, trap, anti-downdraught cowl, instructions

Fan: 			3W D.C. housed in 110 x 50 mm reducer

Vent termination: 		To BS 5572